## Sheet1
Medicines Safety Alerts Checklist August, September and October 2023. For GP practices in Surrey Heartlands ICB
Practices need to ensure they monitor patient safety updates and alerts and act upon these in a timely manner. Each practice should have a system in place to ensure that they are receiving, disseminating and acting upon all alerts and information relevant to general practice. Sources of patient safety information include Medicines and Healthcare products Regulatory Agency (MHRA) alerts, Central Alerting System (CAS) alerts, local or national clinical guidance, and national and local formularies.
CQC guidance on Patient Safety Alerts
Registration of GP practices with the Central Alerting System:
All GP practices in England should have registered to receive CAS alerts directly by 01 October 2019
The Medicines Safety Alerts Checklist summarises CAS alerts and MHRA Drug Safety Update (DSU) items about medicines and medical devices of relevance to primary care. Healthcare professionals are advised to continue to monitor safety information from other sources since this is not an exhaustive list of every current safety concern in the UK.
MHRA Central Alerting System (CAS)
MHRA Drug Safety Update (DSU) Newsletter
This checklist is a resource to assist practices in looking back over a 2 month period and checking that nothing has been overlooked. Since it is issued every 2 months, it is not a substitute for the ongoing monitoring of alerts and acting on these in a timely manner. The checklist will be published with Medicines Safety Matters every 2 months. **Please note that this checklist is for 3 months due to timing of publications.**
It is supplied as an Excel spreadsheet which practices may, if they wish, adapt and annotate with any actions taken thus providing an audit trail.
Recording ‘not applicable’ will be appropriate for some of the items of less relevance to primary care (such as medicines or medical devices for specialist use or issues relating to different care settings) and provides evidence that these have been considered. CAS alerts not intended for cascade to primary care have been excluded.
This checklist includes alerts and information highlighted in August, September and October 2023.
Date | Drug Safety Update | Letters sent to Healthcare Professionals | Drug Alerts and Recalls | Medical Device Alerts | Supply Chain Disruption | Central Alerting System | Drug or Medical Device | Issue | Hyperlink to information
3rd August 2023 |  |  | a |  |  |  | EyeCee One and EyeCee One Crystal preloaded intraocular lenses (IOLs): update of previous quarantine advice after identification of likely cause, DSI/2023/007 | The MHRA is providing an update on the issue of increased intraocular pressure in patients implanted with EyeCee One preloaded and EyeCee One Crystal preloaded intraocular lenses. | EyeCee One and EyeCee One Crystal preloaded intraocular lenses (IOLs): update of previous quarantine advice after identification of likely cause, DSI/2023/007 - GOV.UK (www.gov.uk)
7th August 2023 |  |  |  | a |  |  | Field Safety Notices: 31 July to 4 August 2023 |  | Field Safety Notices: 31 July to 4 August 2023 - GOV.UK (www.gov.uk)
14th August 2023 |  |  |  | a |  |  | Field Safety Notices: 7 August to 11 August 2023 |  | Field Safety Notices: 7 August to 11 August 2023 - GOV.UK (www.gov.uk)
21st August 2023 |  |  |  | a |  |  | Field Safety Notices (FSNs) from 14 to 18 August 2023 |  | Field Safety Notices (FSNs) from 14 to 18 August 2023 - GOV.UK (www.gov.uk)
22nd August 2023 |  |  | a |  |  |  | Ethypharm Aurum pre-filled syringes are incompatible with some manufactured needle-free connectors: risk of delay in administering potentially lifesaving medication, DSI/2023/008. Sent to Various organisations including GP practice. | Attaching an incompatible needle-free connector (NFC) to an Ethypharm Aurum pre-filled syringe can block the syringe and prevent delivery of potentially lifesaving medicine. Only compatible NFCs should be used with pre-filled syringes from the Aurum range. | Ethypharm Aurum pre-filled syringes are incompatible with some manufactured needle-free connectors: risk of delay in administering potentially lifesaving medication, DSI/2023/008 - GOV.UK (www.gov.uk)
22nd August 2023 |  |  | a |  |  |  | Class 4 Medicines Notification, Accord Healthcare Limited, UK, Olmesartan Medoxomil 10mg film coated tablets, EL (23)A/29. Sent to: Dispensing GP practice and Pharmacy. | Accord Healthcare Ltd, UK has informed the MHRA about an error with the Patient Information Leaflets (PILs) that have been packaged in the batches of these products mentioned in this notification. | Class 4 Medicines Notification, Accord Healthcare Limited, UK, Olmesartan Medoxomil 10mg film coated tablets, EL (23)A/29 - GOV.UK (www.gov.uk)
23rd August 2023 |  |  | a |  |  |  | Class 4 Medicines Notification, Accord Healthcare Limited, UK, Irinotecan Hydrochloride 20 mg/ml Concentrate for Solution for Infusion, EL (23)A/30. Sent to: Dispensing GP practice and Pharmacy. | Accord Healthcare Ltd, UK has informed the MHRA about an error with the Patient Information Leaflets (PILs) that have been packaged in the batches of these products mentioned in this notification. | Class 4 Medicines Notification, Accord Healthcare Limited, UK, Irinotecan Hydrochloride 20 mg/ml Concentrate for Solution for Infusion, EL (23)A/30 - GOV.UK (www.gov.uk)
29th August 2023 |  |  | a |  |  |  | Class 4 Medicines Defect Information: Galderma (U.K.) Limited, Loceryl 5% w/v Medicated Nail Lacquer (5.0 ml), EL (23)A/31. Sent to: Dispensing GP practice and Pharmacy. | Galderma (U.K.) Limited has informed the MHRA that a pallet of Loceryl 5% w/v Medicated Nail Lacquer from a batch licensed only for distribution in Ireland has been inadvertently placed into the UK supply chain due to a warehousing error at their UK pre-wholesaler. | Class 4 Medicines Defect Information: Galderma (U.K.) Limited, Loceryl 5% w/v Medicated Nail Lacquer (5.0 ml), EL (23)A/31 - GOV.UK (www.gov.uk)
29th August 2023 |  |  |  | a |  |  | Field Safety Notices (FSNs) from 21 to 25 August 2023 |  | Field Safety Notices (FSNs) from 21 to 25 August 2023 - GOV.UK (www.gov.uk)
30th August 2023 |  |  | a |  |  |  | Class 2 Medicines Recall: Veriton Pharma Limited, Epistatus 2.5 mg oromucosal solution, pre-filled syringe (PFS), EL(23)A/32. Sent to various organisations including dispensing practices and Genearl Practice. | Veriton Pharma Limited is recalling a specific batch of Epistatus (midazolam) 2.5mg Oromucosal Solution (pre-filled oral syringes) due to confirmed out of specification results related to the product appearance. | Class 2 Medicines Recall: Veriton Pharma Limited, Epistatus 2.5 mg oromucosal solution, pre-filled syringe (PFS), EL(23)A/32 - GOV.UK (www.gov.uk)
31st August 2023 |  |  | a |  |  |  | Class 4 Medicines Defect Information: Kyowa Kirin Limited, Tostran (Testosterone, 2% gel), EL (23)A/33. Sent to: Dispensing GP practices, General Practice, Pharmacy. | Kyowa Kirin Limited has notified MHRA that the priming instructions in the current PIL for Tostran 2% gel require updating. | Class 4 Medicines Defect Information: Kyowa Kirin Limited, Tostran (Testosterone, 2% gel), EL (23)A/33 - GOV.UK (www.gov.uk)
4th September |  |  |  | a |  |  | Field Safety Notices (FSNs) from 28 August to 1 September 2023 |  | Field Safety Notices (FSNs) from 28 August to 1 September 2023 - GOV.UK (www.gov.uk)
5th September 2023 |  |  | a |  |  |  | Class 3 Medicines Recall: Theramex HQ UK Ltd, Evorel Sequi, EL (23)A/34. Sent to: Dispensing GP practices, Pharmacy. | Theramex has informed the MHRA that some cartons of Evorel Sequi contain the incorrect combination of patches. An error at the packaging site means that a limited number of packs have the incorrect combination of Evorel 50 and Evorel Conti patches. | Class 3 Medicines Recall: Theramex HQ UK Ltd, Evorel Sequi, EL (23)A/34 - GOV.UK (www.gov.uk)
7th September 2023 |  |  | a |  |  |  | Class 4 Medicines Defect Information: Colgate-Palmolive (U.K.) Limited, Duraphat 5000ppm Fluoride Toothpaste (51g), EL (23)A/35. Sent to: Dentistry, Dispensing GP practices, Pharmacy. | Colgate-Palmolive (U.K.) Limited has informed the MHRA that the Patient Information Leaflet (PIL), carton and tube of the batches of Duraphat 5000ppm Fluoride Toothpaste (51g) listed above are missing information relating to the presence of allergens in the product. | Class 4 Medicines Defect Information: Colgate-Palmolive (U.K.) Limited, Duraphat 5000ppm Fluoride Toothpaste (51g), EL (23)A/35 - GOV.UK (www.gov.uk)
11th September 2023 |  |  |  | a |  |  | Field Safety Notices: 4 to 8 September 2023 |  | Field Safety Notices: 4 to 8 September 2023 - GOV.UK (www.gov.uk)
18th September 2023 |  |  |  | a |  |  | Field Safety Notices: 11 to 15 September 2023 |  | Field Safety Notices: 11 to 15 September 2023 - GOV.UK (www.gov.uk)
20th September 2023 |  |  | a |  |  |  | Class 3 Medicines Recall: Chiesi Ltd., Trimbow 87/5/9 mcg pressurised inhalation solution, EL(23)A/36. Sent to: Dispensing GP Practices, Pharmacy | Chiesi Ltd has informed the MHRA about a potential issue with the batches listed in this notification. This is due to intermittent high results for the uniformity of delivered dose of formoterol fumarate observed during stability testing. | Class 3 Medicines Recall: Chiesi Ltd., Trimbow 87/5/9 mcg pressurised inhalation solution, EL(23)A/36 - GOV.UK (www.gov.uk)
25th September 2023 |  |  |  | a |  |  | Field Safety Notices: 18 to 22 September 2023 |  | Field Safety Notices: 18 to 22 September 2023 - GOV.UK (www.gov.uk)
27th September 2023 | [5 empty] | a | Shortage of methylphenidate prolonged-release capsules and tablets, lisdexamfetamine capsules, and guanfacine prolonged-release tablets. | This alert is for action by organisations involved in prescribing and dispensing of methylphenidate (Equasym® XL) capsules, methylphenidate (Xaggitin XL® , Concerta XL® , Xenidate XL® ) prolonged-release tablets, lisdexamfetamine (Elvanse® ) capsules, and guanfacine (Intuniv® ) prolonged-release tablets. | CAS-ViewAlert (mhra.gov.uk)
2nd October 2023 |  |  |  | a |  |  | Field Safety Notices: 25 to 29 September 2023 |  | Field Safety Notices: 25 to 29 September 2023 - GOV.UK (www.gov.uk)
10th October 2023 |  |  |  | a |  |  | Field Safety Notices: 2 to 6 October 2023 |  | Field Safety Notices: 2 to 6 October 2023 - GOV.UK (www.gov.uk)
16th October 2023 |  |  |  | a |  |  | Field Safety Notices: 9 to 13 October 2022 |  | Field Safety Notices: 9 to 13 October 2022 - GOV.UK (www.gov.uk)
23rd October 2023 |  |  | a |  |  |  | Class 4 Medicines Defect Information: Sandoz Limited, Zinacef powder for solution for injection or infusion vials (all strengths, including stock in GSK livery), EL (23)A/38. Sent to: Dispensing GP practice, General Pratice, Pharmacy. | Sandoz has detected that information on the diluents in the Patient Information Leaflet (PIL) and Summary of Product Characteristics (SmPC) of cefuroxime contain incorrect information. | Class 4 Medicines Defect Information: Sandoz Limited, Zinacef powder for solution for injection or infusion vials (all strengths, including stock in GSK livery), EL (23)A/38 - GOV.UK (www.gov.uk)
25th October 2023 |  |  |  | a |  |  | Field Safety Notices: 16 to 20 October 2023 |  | Field Safety Notices: 16 to 20 October 2023 - GOV.UK (www.gov.uk)
31st October 2023 |  |  |  | a |  |  | Field Safety Notices: 23 to 27 October 2023 |  | Field Safety Notices: 23 to 27 October 2023 - GOV.UK (www.gov.uk)