## Sheet1
Medicines Safety Alerts Checklist December 2024 and January 2025. For GP practices in Surrey Heartlands ICB
Practices need to ensure they monitor patient safety updates and alerts and act upon these in a timely manner. Each practice should have a system in place to ensure that they are receiving, disseminating and acting upon all alerts and information relevant to general practice. Sources of patient safety information include Medicines and Healthcare products Regulatory Agency (MHRA) alerts, Central Alerting System (CAS) alerts, local or national clinical guidance, and national and local formularies.
CQC guidance on Patient Safety Alerts
Registration of GP practices with the Central Alerting System:
All GP practices in England should have registered to receive CAS alerts directly by 01 October 2019
The Medicines Safety Alerts Checklist summarises CAS alerts and MHRA Drug Safety Update (DSU) items about medicines and medical devices of relevance to primary care. Healthcare professionals are advised to continue to monitor safety information from other sources since this is not an exhaustive list of every current safety concern in the UK.
MHRA Central Alerting System (CAS)
MHRA Drug Safety Update (DSU) Newsletter
This checklist is a resource to assist practices in looking back over a 2 month period and checking that nothing has been overlooked. Since it is issued every 2 months, it is not a substitute for the ongoing monitoring of alerts and acting on these in a timely manner. The checklist will be published with Medicines Safety Matters every 2 months.
It is supplied as an Excel spreadsheet which practices may, if they wish, adapt and annotate with any actions taken thus providing an audit trail.
Recording ‘not applicable’ will be appropriate for some of the items of less relevance to primary care (such as medicines or medical devices for specialist use or issues relating to different care settings) and provides evidence that these have been considered. CAS alerts not intended for cascade to primary care have been excluded.
This checklist includes alerts and information highlighted in December 2024 and January 2025
Date | Drug Safety Update | Letters sent to Healthcare Professionals | Drug Alerts and Recalls | Medical Device Alerts | Supply Chain Disruption | Central Alerting System | Drug or Medical Device | Issue | Hyperlink to information
2nd December 2024 |  |  | a |  |  |  | Class 4 Medicines Defect Information: Rosemont Pharmaceuticals Limited, Mycophenolate Mofetil 1g/5ml Oral Suspension, EL(24)A/59. Sent to Dispensing GP practices, General Practice and Pharmacy | Rosemont Pharmaceuticals Limited has informed the MHRA that the Press-In-Bottle-Adaptor (PIBA) supplied with the batches listed above may cause the medicine to leak when attempting to withdraw a dose. | Class 4 Medicines Defect Information: Rosemont Pharmaceuticals Limited, Mycophenolate Mofetil 1g/5ml Oral Suspension, EL(24)A/59 - GOV.UK
3rd December 2024 |  |  | a |  |  |  | Class 3 Medicines Recall: Kent Pharma UK, Phenoxymethylpenicillin 250mg/5ml Oral Solution Sugar Free, EL (24)A/60. Sent to Dispensing GP practices, General Practice and Pharmacy | Kent Pharma UK is recalling a batch of phenoxymethylpenicillin 250mg/5mL oral solution sugar free due to a low phenoxymethylpenicillin assay. | Class 3 Medicines Recall: Kent Pharma UK, Phenoxymethylpenicillin 250mg/5ml Oral Solution Sugar Free, EL (24)A/60 - GOV.UK
4th December 2024 |  |  | a |  |  |  | Class 4 Medicines Defect Information: Brillpharma Limited, Oxybutynin hydrochloride Brillpharma 2.5 mg/5 ml Oral Solution, EL(24)A/61. Sent to Dispensing GP practices, General Practice and Pharmacy | L M Manufacturing Limited has informed the MHRA that the patient information leaflet (PIL) in the cartons for the batch listed for Oxybutynin hydrochloride Brillpharma 2.5 mg/5 ml Oral Solution include an out of date PIL, dated July 2021. | Class 4 Medicines Defect Information: Brillpharma Limited, Oxybutynin hydrochloride Brillpharma 2.5 mg/5 ml Oral Solution, EL(24)A/61 - GOV.UK
5th December 2024 |  |  |  | a |  |  | Field Safety Notices: 25 to 29 November 2024 |  | Field Safety Notices: 25 to 29 November 2024 - GOV.UK
9th December 2024 |  |  | a |  |  |  | Class 2 Medicines Recall: Wockhardt UK Limited, WockAIR 160 microgram/4.5 microgram, inhalation powder, EL(24)A/62. Sent to Dispensing GP practices, General Practice and Pharmacy | Wockhardt UK Limited is recalling this batch as a precautionary measure following the identification of a low number of units which may have a defect in the 'top case' resulting in a dose not being able to be dispensed. | Class 2 Medicines Recall: Wockhardt UK Limited, WockAIR 160 microgram/4.5 microgram, inhalation powder, EL(24)A/62 - GOV.UK
10th December 2024 |  |  |  | a |  |  | Field Safety Notices: 2 to 6 December 2024 |  | Field Safety Notices: 2 to 6 December 2024 - GOV.UK
17th December 2024 |  |  |  | a |  |  | Field Safety Notices: 9 to 13 December 2024 |  | Field Safety Notices: 9 to 13 December 2024 - GOV.UK
18th December 2024 | [5 empty] | a | Shortage of Pancreatic enzyme replacement therapy (PERT) - Additional actions. | This alert contains actions which are in addition to those outlined in the National Patient Safety Alert (NatPSA/2024/007/DHSC) issued on 24th May 2024. There are limited supplies of pancreatic enzyme replacement therapies (PERT). • Creon® 10,000 and 25,000 capsules remain in limited supply until 2026. • Nutrizym® 22 capsules and Pancrex V® capsules and powder are intermittently available but are unable to fully cover the gap in supply This National Patient Safety Alert provides further background, clinical information and actions for providers. | https://www.cas.mhra.gov.uk/ViewandAcknowledgment/ViewAttachment.aspx?Attachment_id=104186
19th December 2024 |  |  | a |  |  |  | Class 4 Medicines Notification: Argenx BV, Vyvgart 1000 mg solution for injection, EL (24)A/63. Sent to: Care home staff, Dispensing GP practices, General practice, Ophthalmology and Pharmacy | Argenx BV have informed MHRA that the Patient Information Leaflet (PIL) in the affected packs incorrectly contains reference to two subcutaneous injection sites. Only subcutaneous injection to the abdomen is permitted. | Class 4 Medicines Notification: Argenx BV, Vyvgart 1000 mg solution for injection, EL (24)A/63 - GOV.UK
20th December 2024 |  |  |  | a |  |  | Field Safety Notices: 20 December 2024 |  | Field Safety Notices: 20 December 2024 - GOV.UK
24th December 2024 |  |  |  | a |  |  | Field Safety Notices: 16 to 20 December 2024 |  | Field Safety Notices: 16 to 20 December 2024 - GOV.UK
31st December 2024 (See also update below- 29th January 2025) |  |  |  | a |  |  | Field Safety Notices: 23 to 27 December 2024 |  | Field Safety Notices: 23 to 27 December 2024 - GOV.UK
7th January 2025 |  |  |  | a |  |  | Field Safety Notices: 30 December 2024 to 3 January 2025 |  | Field Safety Notices: 30 December 2024 to 3 January 2025 - GOV.UK
9th January 2025 |  |  | a |  |  |  | Class 4 Medicines Notification: Rabeprazole sodium 10mg and 20mg gastro-resistant tablets, EL(25)A/01. Sent to Dispensing GP practices, General Practice and Pharmacy | Bristol Laboratories Limited has informed the MHRA that the Patient Information Leaflet (PIL) in the batches in the table for Rabeprazole sodium 10mg and 20mg gastro-resistant tablets do not contain the most up to date safety information. | Class 4 Medicines Notification: Rabeprazole sodium 10mg and 20mg gastro-resistant tablets, EL(25)A/01 - GOV.UK
13th January 2025 |  |  | a |  |  |  | Class 4 Medicines Notification: Irbesartan 150 mg and 300 mg film-coated tablets, EL(25)A/02. Sent to Dispensing GP practices, General Practice and Pharmacy | Jubilant Pharmaceuticals NV has informed the MHRA that the Patient information leaflet (PIL) in the cartons for the batches listed in this notification include an outdated PIL. | Class 4 Medicines Notification: Irbesartan 150 mg and 300 mg film-coated tablets, EL(25)A/02 - GOV.UK
14th January 2025 |  |  |  | a |  |  | Field Safety Notices: 6 to 10 January 2025 |  | Field Safety Notices: 6 to 10 January 2025 - GOV.UK
22nd Januray 2025 |  |  | a |  |  |  | UPDATE: Class 2 Medicines Recall: Tesco Health Dry Cough Relief 200ml, Asda Strong Dry Tickly Cough 200ml, Almus Dry Cough Relief & Bells Dual Action Dry Cough, EL(25)A/03. Sent to: Dispensing GP practices, general practice and Pharmacy | Bells Healthcare is recalling the listed batches of dextromethorphan hydrobromide BP containing products as a precautionary measure, due to foreign material detected in some bottles. | UPDATE: Class 2 Medicines Recall: Tesco Health Dry Cough Relief 200ml, Asda Strong Dry Tickly Cough 200ml, Almus Dry Cough Relief & Bells Dual Action Dry Cough, EL(25)A/03 - GOV.UK
25th January 2025 |  |  |  | a |  |  | Field Safety Notices: 13 to 17 January 2025 |  | Field Safety Notices: 13 to 17 January 2025 - GOV.UK
28th January 2025 |  |  |  | a |  |  | Field Safety Notices: 20 to 24 January 2025 |  | Field Safety Notices: 20 to 24 January 2025 - GOV.UK
29th Januray 2025 (update) |  |  |  | a |  |  | Field Safety Notices: 23 to 27 December 2024 |  | Field Safety Notices: 23 to 27 December 2024 - GOV.UK
30th January 2025 |  |  | a |  |  |  | Class 2 Medicines Recall: Bristol Laboratories Limited, Amlodipine Bristol Lab 2.5 mg Tablets, EL (25)A/04. Sent to: Dispensing GP practices, general practice and Pharmacy | Bristol Laboratories Limited is recalling the batches specified in the table as a precautionary measure due to possible microbial contamination. | Class 2 Medicines Recall: Bristol Laboratories Limited, Amlodipine Bristol Lab 2.5 mg Tablets, EL (25)A/04 - GOV.UK