## Sheet1
Medicines Safety Alerts Checklist May 2023. For GP practices in Surrey Heartlands ICB
Practices need to ensure they monitor patient safety updates and alerts and act upon these in a timely manner. Each practice should have a system in place to ensure that they are receiving, disseminating and acting upon all alerts and information relevant to general practice. Sources of patient safety information include Medicines and Healthcare products Regulatory Agency (MHRA) alerts, Central Alerting System (CAS) alerts, local or national clinical guidance, and national and local formularies.
CQC guidance on Patient Safety Alerts
Registration of GP practices with the Central Alerting System:
All GP practices in England should have registered to receive CAS alerts directly by 01 October 2019
The Medicines Safety Alerts Checklist summarises CAS alerts and MHRA Drug Safety Update (DSU) items about medicines and medical devices of relevance to primary care. Healthcare professionals are advised to continue to monitor safety information from other sources since this is not an exhaustive list of every current safety concern in the UK.
MHRA Central Alerting System (CAS)
MHRA Drug Safety Update (DSU) Newsletter
This checklist is a resource to assist practices in looking back over a 2 month period and checking that nothing has been overlooked. Since it is issued every 2 months, it is not a substitute for the ongoing monitoring of alerts and acting on these in a timely manner.*Please note, that we are reporting May 2023 only in this issue. We will continue to publish with Medicines Safety Matters every 2 months thereafter.
It is supplied as an Excel spreadsheet which practices may, if they wish, adapt and annotate with any actions taken thus providing an audit trail.
Recording ‘not applicable’ will be appropriate for some of the items of less relevance to primary care (such as medicines or medical devices for specialist use or issues relating to different care settings) and provides evidence that these have been considered. CAS alerts not intended for cascade to primary care have been excluded.
This checklist includes alerts and information highlighted in May 2023.
Date | Drug Safety Update | Letters sent to Healthcare Professionals | Drug Alerts and Recalls | Medical Device Alerts | Supply Chain Disruption | Central Alerting System | Drug or Medical Device | Issue | Hyperlink to information
8th May 2023 |  |  |  | a |  |  | Field Safety Notices: 1 to 5 May 2023 |  | Field Safety Notices: 1 to 5 May 2023 - GOV.UK (www.gov.uk)
9th May 2023 | [5 empty] | a | Recall of Emerade 500 micrograms and Emerade 300 micrograms auto-injectors, due to the potential for device failure Sent to various organistations including Dispensing GP practices and General Practice. | Pharmaswiss Česka republika s.r.o. and distributor Bausch & Lomb UK Limited is recalling all unexpired batches of Emerade 500 micrograms and Emerade 300 micrograms adrenaline auto-injectors (also referred to as pens) from patients. This is due to an issue identified during an ISO 11608 Design Assessment study where some auto-injectors failed to deliver the product or activated prematurely. | CAS-ViewAlert (mhra.gov.uk)
9th May 2023 | [5 empty] | a | Influenza Season 2022/23: ending the prescribing and supply of antiviral medicines in primary care | The most recent surveillance data from UK Health Security Agency (UKHSA) indicates that circulation of influenza in the community has returned to baseline levels. In accordance with NICE guidance and Schedule 2 to the National Health Service (General Medical Services Contracts) (Prescription of drugs etc.) Regulations 2004), commonly known as the Grey List or Selected List Scheme (SLS): GPs and other prescribers working in primary care should no longer prescribe antiviral medicines (including neuraminidase inhibitors) for the prophylaxis and treatment of influenza on an FP10 prescription form. Community pharmacists should no longer supply antiviral medicines in primary care on presentation of an FP10 prescription form. This advice stands until a notification is issued to re-commence prescribing and supply of antiviral medicines in primary care. This does not impact on prescribing of antiviral medicines in hospitals, which can continue as normal. Further information, including the arrangements for prescribing antiviral medicines for localised community outbreaks, is provided in the attached document from the Chief Medical Officer and Chief Pharmaceutical Officer. | CAS-ViewAlert (mhra.gov.uk)
10th May 2023 |  |  | a |  |  |  | Class 3 Medicines Recall: Hikma Farmacêutica Portugal S.A., Gemcitabine 1g/26.3ml & 2g/52.6ml Solution For Infusion Vial, EL(23)A/16. Sent to: GP dispensing practices and Pharmacy. | Hikma Farmacêutica Portugal S.A has informed the MHRA of a potential issue impacting the batches listed in this notification. | Class 3 Medicines Recall: Hikma Farmacêutica Portugal S.A., Gemcitabine 1g/26.3ml & 2g/52.6ml Solution For Infusion Vial, EL(23)A/16 - GOV.UK (www.gov.uk)
15th May 2023 |  |  |  | a |  |  | Field Safety Notices: 8 to 12 May 2023 |  | Field Safety Notices: 8 to 12 May 2023 - GOV.UK (www.gov.uk)
16th May 2023 |  |  | a |  |  |  | Class 4 Medicines Defect Information: Novartis Pharmaceuticals, Simulect 10mg & 20mg powder and solvent for Solution for injection or infusion, EL (23)A/17. sen to Dispensing GP practices and Pharmacy | Novartis Pharmaceuticals has informed the MHRA that the solvent (water for injections in ampoules) co-packed with the impacted batches of Simulect powder for injection, may contain glass fragments approximately 20 – 800 µm in size. | Class 4 Medicines Defect Information: Novartis Pharmaceuticals, Simulect 10mg & 20mg powder and solvent for Solution for injection or infusion, EL (23)A/17 - GOV.UK (www.gov.uk)
22nd May 2023 |  |  | a |  |  |  | Class 4 Medicines Defect Information: Orifarm UK Ltd, Buccolam 10mg Oromucosal solution, EL (23)A/18 Sent to Various organisations including GP practice and Dispensing GP practices. | Orifarm UK Ltd has informed the MHRA that the Patient Information Leaflet (PIL) in one batch of Buccolam 10mg Oromucosal solution has missing information regarding having to break the seal on the inner container before use. | Class 4 Medicines Defect Information: Orifarm UK Ltd, Buccolam 10mg Oromucosal solution, EL (23)A/18 - GOV.UK (www.gov.uk)
22nd May 2023 |  |  |  | a |  |  | Field Safety Notices: 15 to 19 May 2023 |  | Field Safety Notices: 15 to 19 May 2023 - GOV.UK (www.gov.uk)
23rd May 2023 |  |  | a |  |  |  | Class 4 Medicines Defect Information: Drugsrus Limited / Dawa Limited, Metronidazole 200 mg/5 ml Oral Suspension, EL (23)A/19. Sent to Dispensing GP practices, Pharmacy | Drugsrus Limited has informed the MHRA that a small number of bottles of Metronidazole 200 mg/5 ml Oral Suspension 100ml are leaking from the cap. | Class 4 Medicines Defect Information: Drugsrus Limited / Dawa Limited, Metronidazole 200 mg/5 ml Oral Suspension, EL (23)A/19 - GOV.UK (www.gov.uk)
24th May 2023 | [5 empty] | a | Shortage of pyridostigmine 60mg tablets. Sent to various organisations including GP practices. | Pyridostigmine 60mg tablets are out of stock, resupply is expected week commencing 12 June 2023. There are three suppliers of pyridostigmine 60mg tablets: Viatris, Teva and Flynn Pharma. The supply issue is caused by a combination of manufacturing issues and a resulting increase in demand to other suppliers. This National Patient Safety Alert provides further background and clinical information and actions for providers. | CAS-ViewAlert (mhra.gov.uk)
25th May 2023 | a | [5 empty] | Drug Safety Update: monthly newsletter May 2023. |  | Drug Safety Update: monthly PDF newsletter - GOV.UK (www.gov.uk)
29th May 2023 |  |  |  | a |  |  | List of Field Safety Notices (FSNs) from 29 May to 02 June 2023 |  | List of Field Safety Notices (FSNs) from 29 May to 02 June 2023 - GOV.UK (www.gov.uk)