## Sheet1
Medicines Safety Alerts Checklist September,* October and November 2024. For GP practices in Surrey Heartlands ICB
Practices need to ensure they monitor patient safety updates and alerts and act upon these in a timely manner. Each practice should have a system in place to ensure that they are receiving, disseminating and acting upon all alerts and information relevant to general practice. Sources of patient safety information include Medicines and Healthcare products Regulatory Agency (MHRA) alerts, Central Alerting System (CAS) alerts, local or national clinical guidance, and national and local formularies.
CQC guidance on Patient Safety Alerts
Registration of GP practices with the Central Alerting System:
All GP practices in England should have registered to receive CAS alerts directly by 01 October 2019
The Medicines Safety Alerts Checklist summarises CAS alerts and MHRA Drug Safety Update (DSU) items about medicines and medical devices of relevance to primary care. Healthcare professionals are advised to continue to monitor safety information from other sources since this is not an exhaustive list of every current safety concern in the UK.
MHRA Central Alerting System (CAS)
MHRA Drug Safety Update (DSU) Newsletter
This checklist is a resource to assist practices in looking back over a 2 month period and checking that nothing has been overlooked. Since it is issued every 2 months, it is not a substitute for the ongoing monitoring of alerts and acting on these in a timely manner. The checklist will be published with Medicines Safety Matters every 2 months. *Please note this issue includes alerts outstanding from 24th september onwards, October and November 2024.
It is supplied as an Excel spreadsheet which practices may, if they wish, adapt and annotate with any actions taken thus providing an audit trail.
Recording ‘not applicable’ will be appropriate for some of the items of less relevance to primary care (such as medicines or medical devices for specialist use or issues relating to different care settings) and provides evidence that these have been considered. CAS alerts not intended for cascade to primary care have been excluded.
This checklist includes alerts and information highlighted in July, August and September 2024. *This checklist includes alerts outstanding from 24th september onwards, October and November 2024.
Date | Drug Safety Update | Letters sent to Healthcare Professionals | Drug Alerts and Recalls | Medical Device Alerts | Supply Chain Disruption | Central Alerting System | Drug or Medical Device | Issue | Hyperlink to information
26th September 2024 |  |  | a |  |  |  | Class 4 Medicines Defect Information: Sandoz Ltd., Risperidone 1mg, 2mg, 3mg Tablets, EL(24)A/43. Sent to: GP dispensing Practices, General Practice and Pharmacy. | Sandoz Ltd. has informed the MHRA that there is missing safety information in the Patient Information Leaflet (PIL) and Summary of Product Characteristics (SmPC) for Risperidone 1mg, 2mg and 3mg and Tablets. | Class 4 Medicines Defect Information: Sandoz Ltd., Risperidone 1mg, 2mg, 3mg Tablets, EL(24)A/43 - GOV.UK (www.gov.uk)
27th September 2024 |  |  |  | a |  |  | Field Safety Notices: 23 to 27 September 2024 |  | Field Safety Notices: 23 to 27 September 2024 - GOV.UK (www.gov.uk)
30th September 2024 |  |  | a |  |  |  | Class 2 Medicines Recall: Pfizer Limited, Oxbryta 500mg Tablets (voxelotor), EL(24)A/44. Sent to various organisations including GP practice and Dispensng GP practices. | Pfizer Limited is recalling all distributed batches of Oxbryta 500 mg Tablets. Pfizer Limited has informed the MHRA that the product is being withdrawn due to emerging data from clinical trials and registry-based studies. | https://www.gov.uk/drug-device-alerts/class-2-medicines-recall-pfizer-limited-oxbryta-500mg-tablets-voxelotor-el-24-a-slash-44
1st October 2024 |  |  | a |  |  |  | Class 4 Medicines Defect Information: Sandoz Ltd., Rosuvastatin 20mg, 40mg Tablets, EL(24)A/45 Sent to: GP dispensing Practices, General Practice and Pharmacy. | Sandoz Ltd. has informed the MHRA that there is missing safety information in the Patient Information Leaflet (PIL) and Summary of Product Characteristics (SmPC) for Rosuvastatin 20mg and 40mg Tablets. | Class 4 Medicines Defect Information: Sandoz Ltd., Rosuvastatin 20mg, 40mg Tablets, EL(24)A/45 - GOV.UK (www.gov.uk)
2nd October 2024 (Update following alert on 28th August 2024) |  |  |  | a |  |  | Philips Respironics BiPAP A series ventilators: alarm malfunction and risk of therapy interruptions in ventilators not intended for life-support, DSI/2024/006. Sent to various organisiations including GP practice. | Philips Respironics has issued a Field Safety Notice (FSN) relating to the Bilevel Positive Airway Pressure (BiPAP) A series ventilators. This relates to a Ventilator Inoperative alarm which could result in the potential loss of therapy to patients without warning. | Philips Respironics BiPAP A series ventilators: alarm malfunction and risk of therapy interruptions in ventilators not intended for life-support, DSI/2024/006 - GOV.UK (www.gov.uk)
3rd October 2024 |  |  | a |  |  |  | Class 3 Medicines Recall: Glenmark Pharmaceuticals Europe Ltd Cyanocobalamin 50 mcg Tablets, EL(24)A/46. Sent to: GP dispensing Practices, General Practice and Pharmacy. | Glenmark Pharmaceuticals Europe Ltd is recalling the affected batches as a precautionary measure due to out of specification results for unknown impurities during routine stability testing and additional re-testing. | Class 3 Medicines Recall: Glenmark Pharmaceuticals Europe Ltd Cyanocobalamin 50 mcg Tablets, EL(24)A/46 - GOV.UK (www.gov.uk)
4th October (Updated 7th October) |  |  |  | a |  |  | Field Safety Notices: 30 September to 4 October 2024 |  | Field Safety Notices: 30 September to 4 October 2024 - GOV.UK (www.gov.uk)
7th October 2024 |  |  | a |  |  |  | Class 3 Medicines Recall: Viatris UK Healthcare Ltd, Trandolapril 2mg and 4mg capsules, EL(24)A/47 Sent to: GP dispensing Practices, General Practice and Pharmacy. | Generics (UK) Ltd T/A Mylan UK is recalling specific batches of trandolapril after re-testing showed out of specification results. | Class 3 Medicines Recall: Viatris UK Healthcare Ltd, Trandolapril 2mg and 4mg capsules, EL(24)A/47 - GOV.UK (www.gov.uk)
10th October 2024 |  |  | a |  |  |  | Class 4 Medicines Defect Information: Sandoz Ltd., Linezolid 600 mg film-coated tablets, EL(24)A/48 Sent to: GP dispensing Practices, General Practice and Pharmacy. | Sandoz Ltd. has informed the MHRA that there is missing safety information in the Patient Information Leaflet (PIL) and Summary of Product Characteristics (SmPC) for Linezolid 600 mg film-coated tablets. | Class 4 Medicines Defect Information: Sandoz Ltd., Linezolid 600 mg film-coated tablets, EL(24)A/48 - GOV.UK (www.gov.uk)
11th October 2024 |  |  |  | a |  |  | Field Safety Notices: 7 October to 14 October 2024 |  | Field Safety Notices: 7 October to 14 October 2024 - GOV.UK (www.gov.uk)
16th October 2024 |  |  |  | a |  |  | Field Safety Notices: 7 to 11 October 2024 |  | Field Safety Notices: 7 to 11 October 2024 - GOV.UK
18th October 2024 |  |  |  | a |  |  | Field Safety Notices: 18 October 2024 |  | Field Safety Notices: 18 October 2024 - GOV.UK
21st October 2024 |  |  | a |  |  |  | Class 4 Medicines Defect Information: Kent Pharma UK, Paracetamol 500mg Effervescent Tablets, EL(24)A/49. Sent to: Dispensing GP practices, General Practice and Pharmacy. | Kent Pharma UK has identified an error in the Patient Information Leaflet (PIL) for Paracetamol 500mg Effervescent Tablets. | Class 4 Medicines Defect Information: Kent Pharma UK, Paracetamol 500mg Effervescent Tablets, EL(24)A/49 - GOV.UK
21st October 2024 | [5 empty] | a | UPDATE: Discontinuation of Kay-Cee-L (potassium chloride 375mg/ml) (potassium chloride 5mmol/5ml) syrup. Sent to various organisations including GP practice. | ***This NatPSA supersedes NatPSA/2024/008/DHSC*** Kay-Cee-L® (potassium chloride 5mmol/5ml) syrup will be discontinued from late November 2024 due to manufacturing and commercial issues. Sando-K® (potassium bicarbonate 400mg and potassium chloride 600mg) effervescent tablets remain available and can support a full increase in demand. One effervescent tablet contains 12mmol potassium. Unlicensed potassium chloride oral solutions manufactured within the UK are available via Specials manufacturers, lead times vary. Care is needed to ensure selection of the most appropriate oral potassium supplement and delivery of the correct dosage. This National Patient Safety Alert provides further background, clinical information and actions for providers. | CAS-ViewAlert
22nd October 2024 |  |  |  | a |  |  | Field Safety Notices: 14 to 18 October 2024 |  | Field Safety Notices: 14 to 18 October 2024 - GOV.UK
23rd October 2024 |  |  | a |  |  |  | Class 2 Medicines Recall: Bristol Laboratories Ltd, Phenobarbital Bristol Labs 15mg Tablets, EL(24)A/50 Sent to: Dispensing GP practices, General Practice and Pharmacy. | Bristol Laboratories Ltd. are recalling one batch of Phenobarbital Bristol Labs 15mg Tablets as a precautionary measure due to the potential of contamination of small metallic particles within the tablets. | Class 2 Medicines Recall: Bristol Laboratories Ltd, Phenobarbital Bristol Labs 15mg Tablets, EL(24)A/50 - GOV.UK
24th October 2024 |  |  | a |  |  |  | UPDATE: Class 3 Medicines Recall: Glenmark Pharmaceuticals Europe Ltd Cyanocobalamin 50 mcg Tablets, EL(24)A/46. Sent to: Dispensing GP practices, General Practice and Pharmacy. | Glenmark Pharmaceuticals Europe Ltd is recalling the affected batches as a precautionary measure due to out of specification results for unknown impurities during routine stability testing and additional re-testing. | UPDATE: Class 3 Medicines Recall: Glenmark Pharmaceuticals Europe Ltd Cyanocobalamin 50 mcg Tablets, EL(24)A/46 - GOV.UK
28th October 2024 |  |  | a |  |  |  | Class 4 Medicines Defect Information: Kent Pharma UK, Parasolve (Paracetamol) 500mg effervescent tablets, EL(24)A/51. Sent to: Dispensing GP practices, General Practice and Pharmacy. | Kent Pharma UK has identified an error in the Patient Information Leaflet (PIL) for Paracetamol 500mg Effervescent Tablets. | Class 4 Medicines Defect Information: Kent Pharma UK, Parasolve (Paracetamol) 500mg effervescent tablets, EL(24)A/51 - GOV.UK
29th October 2024 |  |  |  | a |  |  | Field Safety Notices: 21 to 25 October 2024 |  | Field Safety Notices: 21 to 25 October 2024 - GOV.UK
30th October 2024 |  |  |  | a |  |  | Field Safety Notices: 30th October 2024 |  | Field Safety Notices: 30th October 2024 - GOV.UK
29th October 2024 (updated 31st October 2024) |  |  | a |  |  |  | Class 2 Medicines Recall: Tillomed Laboratories Limited, Labetalol 200mg Tablets, EL(24)A/52. Sent to: Dispensing GP practices, General Practice and Pharmacy. | Tillomed Laboratories Limited is recalling one batch of Labetalol 200mg Tablets as a precautionary measure due to potential mix-up at the manufacturing site. | Class 2 Medicines Recall: Tillomed Laboratories Limited, Labetalol 200mg Tablets, EL(24)A/52 - GOV.UK
5th November 2024 |  |  |  | a |  |  | Field Safety Notices: 28 October to 1 November 2024 |  | Field Safety Notices: 28 October to 1 November 2024 - GOV.UK
6th November 2024 |  |  |  | a |  |  | Field Safety Notices: 6 November 2024 |  | Field Safety Notices: 6 November 2024 - GOV.UK
6th November 2024 | a | [5 empty] | MedSafetyWeek November 2024: Your Yellow Card report helps prevent future harm to others and improves patient safety | The ninth annual #MedSafetyWeek social media campaign is taking place 4 to 10 November 2024. | MedSafetyWeek November 2024: your Yellow Card report helps prevent future harm to others and improves patient safety - GOV.UK
7th Novemver 2024 |  |  | a |  |  |  | Class 4 Medicines Defect Information: Ennogen Healthcare Limited, Zoledronic Acid Ennogen 4mg/5ml concentrate for solution for infusion, EL (24)A/53. Sent to: Dispensing GP practices, General Practice and Pharmacy. | Ennogen Healthcare Limited has identified that action had not been taken to ensure the Patient Reminder Card (PRC) was distributed alongside the packs of product as part of the approved Additional Risk Minimisation Measures (RMM). | Class 4 Medicines Defect Information: Ennogen Healthcare Limited, Zoledronic Acid Ennogen 4mg/5ml concentrate for solution for infusion, EL (24)A/53 - GOV.UK
8th November 2024 |  |  |  | a |  |  | Field Safety Notices: 8 November 2024 |  | Field Safety Notices: 8 November 2024 - GOV.UK
12th November 2024 |  |  |  | a |  |  | Field Safety Notices: 4 to 8 November 2024 |  | Field Safety Notices: 4 to 8 November 2024 - GOV.UK
12th November 2024 |  |  | a |  |  |  | Class 4 Medicines Defect Information: Viatris UK Healthcare Ltd, Omeprazole 40 mg Powder for solution for infusion, EL(24)A/54. Sent to: Dispensing GP practices, General Practice and Pharmacy. | Generics (U.K.) Limited has informed the MHRA that the Patient Information Leaflet (PIL) packaged in specific batches of Omeprazole 40 mg Powder for solution for infusion do not contain the most up to date safety information. | Class 4 Medicines Defect Information: Viatris UK Healthcare Ltd, Omeprazole 40 mg Powder for solution for infusion, EL(24)A/54 - GOV.UK
13th November 2024 |  |  | a |  |  |  | Company led medicines recall: Leeds Trading Company LTC Ltd T/A LTC Healthcare, EXS Delay Spray Plus, CLMR(24)A/01. Sent to: General Practice and Pharmacy | LTC Healthcare has informed the MHRA that they have been selling a medicinal product containing lidocaine without authorisation from the MHRA. | Company led medicines recall: Leeds Trading Company LTC Ltd T/A LTC Healthcare, EXS Delay Spray Plus, CLMR(24)A/01 - GOV.UK
18th November 2024 |  |  | a |  |  |  | Class 4 Medicines Defect Information: Takeda UK Limited, Entyvio 108mg solution for injection in pre-filled syringe, EL(24)A/55 Sent to Dispensing GP practices, GP practice and Pharmacy. | Takeda UK Limited has informed the MHRA that there is an error in the Patient Information Leaflet for specified batches of Entyvio 108mg pre-filled syringes. | Class 4 Medicines Defect Information: Takeda UK Limited, Entyvio 108mg solution for injection in pre-filled syringe, EL(24)A/55 - GOV.UK
19th November 2024 |  |  |  | a |  |  | Field Safety Notices: 1 to 5 July 2024 (update) |  | Field Safety Notices: 1 to 5 July 2024 - GOV.UK
19th November 2024 |  |  |  | a |  |  | Field Safety Notices: 11 to 15 November 2024 |  | Field Safety Notices: 11 to 15 November 2024 - GOV.UK
25th November 2024 |  |  | a |  |  |  | Class 3 Medicines Recall: Syri Limited, T/A SyriMed, Baclofen 10mg/5ml Oral Solution, EL(24)A/56 Sent to Dispensing GP practices, GP practice and Pharmacy. | Syri Limited, T/A SyriMed is recalling this batch of product as a precautionary measure due to crystallisation observed over time in the oral solution. | Class 3 Medicines Recall: Syri Limited, T/A SyriMed, Baclofen 10mg/5ml Oral Solution, EL(24)A/56 - GOV.UK
26th November 2024 |  |  |  | a |  |  | Field Safety Notices: 25 November 2024 |  | Field Safety Notices: 25 November 2024 - GOV.UK
26th November 2024 |  |  |  | a |  |  | Field Safety Notices: 18 to 22 November 2024 |  | Field Safety Notices: 18 to 22 November 2024 - GOV.UK
27th November 2024 |  |  | a |  |  |  | Class 4 Medicines Defect Information: Morningside Healthcare Limited, Tramadol Hydrochloride 50 mg capsules & Tramadol Hydrochloride Morningside 50 mg Prolonged-Release capsules, EL(24)A/57 Sent to Dispensing GP practices, GP practice and Pharmacy. | Morningside Healthcare Limited has informed the MHRA of a packaging issue identified in batch MRA2303 of Tramadol Hydrochloride Morningside 50 mg Prolonged-Release Capsules and batch MRF2301 of Tramadol Hydrochloride 50 mg Capsules. | Class 4 Medicines Defect Information: Morningside Healthcare Limited, Tramadol Hydrochloride 50 mg capsules & Tramadol Hydrochloride Morningside 50 mg Prolonged-Release capsules, EL(24)A/57 - GOV.UK
28th November 2024 |  |  | a |  |  |  | Class 4 Medicines Defect Information: Strides Pharma UK Ltd, Liothyronine Sodium 5 & 20 micrograms Tablets, EL(24)A/58 Sent to Dispensing GP practices, GP practice and Pharmacy. | Strides Pharma UK Ltd has informed MHRA of an error in the patient information leaflet (PIL) for Liothyronine Sodium 20 micrograms Tablets and Liothyronine Sodium 5 micrograms Tablets. | Class 4 Medicines Defect Information: Strides Pharma UK Ltd, Liothyronine Sodium 5 & 20 micrograms Tablets, EL(24)A/58 - GOV.UK