| INFORMATION SHEET – Blue Traffic Light Classification |
| --- |
| Name of technology | Continuous Glucose Monitoring (CGM) devices: Dexcom ONE (real time CGM) Freestyle Libre 2 (real time and intermittent CGM). Freestyle Libre 3 (real time CGM) Decom G7 (real Time CGM) |
| Indication | Adults & Children with Type 2 Diabetes |
| Author(s): Liz Read, DSN, Helen Marlow and Perminder Oberai Organisation(s): Surrey Heartlands |
| Version: 1 | APC recommendation date: September 2023 | Review date: September 2026 |

The information sheet is intended to facilitate the accessibility and safe prescribing of CGM devices across the secondary/primary care interface for medicines and devices classified by Area Prescribing Committee (APC) as BLUE

BLUE devices are considered suitable for prescribing in primary care, following initiation and education of the patient by a specialist, as ongoing monitoring can be undertaken in primary care without specialist support and WITHOUT the need for a formal shared care guideline.

For each device classified as BLUE, the Area Prescribing Committee will recommend the minimum supply and whether an information sheet is required or not.  A minimum of one month supply of the device will be provided by the initiating specialist team.

This information sheet sets out the patient pathway relating to this device. Prescribing must be carried out with reference to those publications.  A GP or Primary Care Prescriber must ensure they are familiar with the prescribing responsibilities.  This information sheet is available on the internet http://pad.res360.net/ forming part of the Prescribing Advisory Database (PAD) giving primary care teams appropriate advice / guidance and is not required to be sent to the GP with the clinic letter.

RESPONSIBILITIES and ROLES

Consultant / Specialist responsibilities

To assess the suitability of patient for the CGM device.

To discuss the aims, benefits, and appropriate use of the CGM device with the patient and/or carer as well as their role NOTE- real time CGM has better outcomes than intermittently scanned CGM

Explain to the patient and/or carer the treatment plan including benefits of the sensor, reason for choice and request for transfer of care to GP. Advise the patient and/or carer when they will need to use capillary blood glucose monitoring.

Arrange for patient and/or carer to receive education on how to use the CGM device as part of their overall diabetes care.

Baseline monitoring: Clinic letter to state number of hypoglycaemia events each week. Hba1c. Consider Gold or Clarke score.

Monitor and evaluate use of the CGM device, including adverse skin reactions to device, with the patient and to continue / discontinue the CGM device in line with agreed treatment plan. Inform patient to contact specialist centre if they have a skin reaction to the adhesive.

Supply the patient with the first 28 days of CGM and capillary test strips if required before transferring to GP.

Supply GP with summary of patient review (including anticipated length of treatment). In the GP letter include prescription recommendation for the minimum amount of capillary blood glucose strips. (1 pot of 50 strips) It is recommended that these strips are added to the variable use repeat prescription to reduce wastage and cost.

Use example template (Appendix A) within clinic letter to GP to ensure all information needed for prescribing and deprescribing is communicated.

Review within 12 months by a clinician at the diabetes centre or sooner if there is a clinical need.

Inform GP if patient does not attend planned follow-up.

Advise GP if use of CGM device is to discontinue or be changed to an alternative CGM device at any point.

Support the patient to link their CGM device with the Specialist Centre. This will allow the HCP to support the person’s management of their diabetes during appointments or if the patient contacts the diabetes service with concerns.

Sensor and transmitter life differ for each product. Refer to reference table Appendix A. Ensure GP and patient and/or carer are aware of this. Document in the clinic letter how the patient can obtain a replacement transmitter.

Ensure the patient and/or carer has contact details for the CGM device care line in case of sensor malfunction, see Appendix A.

Provide ongoing diabetes care to the patient from the specialist diabetes team.

General Practitioner (GP) or Primary Care Prescriber responsibilities

Prescribe sensors on FP10 on a monthly prescription, and for Dexcom One prescribe transmitter every three months in addition to monthly sensors.

Prescribe a minimum of 1 pot (50 tests) capillary blood glucose strips on variable use repeat prescription (EMIS) or irregularly issued template (SystmOne) to reduce wastage and cost. One pot allows for up to 1 to 2 capillary blood glucose tests/day (Quantities will be different for Group 2 drivers as per DVLA advice). https://surreyccg.res-systems.net/PAD/Search/DrugConditionProfile/4609

Ensure 1 pot of ketone test strips are available to request on the patient’s prescription as a variable use repeat prescription. https://surreyccg.res-systems.net/PAD/Search/DrugConditionProfile/4609

Update patient notes and amend medicines record with any changes to CGM devices notified by the specialist.

Consult specialist team if there are concerns identified e.g. skin reactions to sensor, not using CGM device, patient having difficulty interpreting CGM data, over or under ordering of sensors.

GP practice to have the contact details of CGM manufacturer/careline.

Patient / Carer role

Informing the specialist team, primary care prescriber or other healthcare professional if he or she has further questions or wants more information about the CGM device.

Tell the consultant / specialist or GP or Primary Care Prescriber of any other medication being taken, including over-the-counter products e.g., topical medications and creams.

Agree to complete the required CGM device training prior to its initiation.

Agreement from the patient and/or carer to link their CGM device data with the Specialist Centre such as the Glooko Platform.

Sharing any concerns about their diabetes treatment and problems they are having using their CGM device with the specialist team.

Be advised how to report any adverse effects to the specialist team, primary care prescriber or other healthcare professional involved in their care, and how adverse effects can be managed

To be available for monitoring as required

Attend follow-up appointments with the consultant / specialist / GP. Non-attendance of appointments may result in CGM being stopped

Know how to access to CGM device product website and careline telephone number – Appendix A.

Key information on the CGM devices

Please refer to the current CGM device information for detailed information and specific guidance on how to use the device.

| Dexcom One | https://uk.provider.dexcom.com/products/dexcom-one |
| --- | --- |
| Freestyle Libre 2 | https://pro.freestyle.abbott/uk-en/home/freestyle-portfolio/freestyle-libre-systems/freestyle-libre-2.html |

Background information:

### CGM devices are recommended by NICE for use in children and young people NG18 with Type 2 diabetes mellitus.

### Type 2 diabetes is much less common in children and young people. It occurs when the body produces some, but not sufficient, insulin; or is resistant to insulin. Younger people diagnosed with type 2 diabetes are at a much higher risk of developing diabetes complications as the condition is more aggressive compared to older adults. (DIABETES UK).

### A recent summary paper in the British Medical Journal on CGM provides further background information for primary care.

### “Continuous Glucose Monitoring”.  Br Med J 2023;380:e072420.  https://www.bmj.com/content/380/bmj-2022-072420. Accessed 6th March 2023.

Expected benefits:

Improved time in target range, reduction in diabetes complications i.e., renal, ophthalmic, cardiovascular, neuropathic, improved quality of life, reduced anxiety, and diabetes related distress, improved Gold or Clarke score, reduced time in hypoglycaemia range, and reduced admissions.

### Glossary:

CGM Continuous glucose monitor, a sensor worn on the abdomen or arm and continuously measures glucose over 24 hours. The readings are sent to a display device via a transmitter.

Clarke Score: A score to check hypoglycemia perception using questions which have a score. ≤ 3 normal hypoglycaemia perception. ≤ 4 reduced hypoglycaemia perception.

Diabetes distress: When a person feels frustrated, defeated, or overwhelmed by diabetes. These feelings can turn into depression and diabetes burnout.

Gold Score: A Likert questionnaire asking respondents with diabetes to score their experience of detecting hypoglycemic events.

Hypoglycaemia: Imbalance between glucose supply, glucose utilization and existing insulin concentration. A blood glucose ≤ 3.9 mmols/l defines this.

isCGM intermittently scanned continuous glucose monitoring. Also known as ‘Flash’ glucose monitoring. The sensor continuously records glucose readings but the reader device or smartphone must be used by the individual to scan the sensor. Scanning will display the reading.

rtCGM Real time glucose monitoring. A continuous display of real time glucose readings via a display device.

Time in target: Percentage of time that the person with diabetes spends in target range. For example between 4 and 10 mmols/l.

### Appendix A – CGM Devices Information for Primary Care Prescribers

| CGM Device FP10 Prescribed | Transmitter Life | Sensor Life | Monthly Sensor Prescription | Transmitter Prescription | Customer Care Telephone Number |
| --- | --- | --- | --- | --- | --- |
| Dexcom One (1 sensor every 10 days) | 3 months | 10 Days | 1 pack (contains 3 sensors) | 1 Transmitter every 3 months. | 0800 031 5761 Website |
| Freestyle Libre 2 (1 sensor every 14 days) | N/A | 14 Days | 2 packs (contains 1 sensor per pack) | N/A | 0800 170 1177 Website |

Recommended for all patients with Type 2 diabetes: Capillary blood glucose strips 1 pot of 50 strips/month Ketone test strips 1 pot 10 strips/month DO WE NEED THIS??? PLEASE FEEDBACK. Prescribe on variable use repeat prescription (EMIS) or irregularly issued template (SystmOne) to reduce wastage and cost

Suggested communication template for notification of sensor use/change and prescribing recommendations.

| Specialist reviewed and initiating CGM? | Yes Device: For FP10 prescribed CGM, see table for quantity to prescribe | No |
| --- | --- | --- |
| One-month CGM initiated | Yes Date of CGM start | No |
| Does the patient have an existing CGM sensor? If so which device? | Yes Device: | No |
| GP to discontinue existing sensor | Yes | No |
| Current blood glucose testing system | Yes | Test strip name |
| Prescriber’s comments |  |